Medical Physics for Medical Imaging: relevant books, protocols, reports and papers

(compiled by E. Vano) eliseov@med.ucm.es

Content:

- Books

- Scientific papers (reviews)

- Reports

  - AAPM

  - IAEA

  - ICRU

  - NCRP

  - WHO

  - SEFM

Highlighted in yellow “protocols for measurements” (or similar)

Books:

Physics For Diagnostic Radiology, Third Edition (2010). by P. P. Dendy (Author), Heaton B (Author). Medical Science Series. Publisher:  CRC Press.

Fundamentals of Medical Imaging by Paul Suetens. 2009.

Review of Radiologic Physics. Walter Huda. 2009. Lippincott Williams & Wilkins.

Introduction to Physics in Modern Medicine by Suzanne Amador Kane. 2009. CRC Pr.

Farr's Physics for Medical Imaging by Jerry Williams, Penelope Allisy-Roberts. 2007.

Introduction to the Mathematics of Medical Imaging by Epstein. Charles L. 2007.

Principles of Radiological Physics by Graham, Paul J. Cloke, Martin Vosper. 2007.

Ultrasonic Diagnostics in Medicine: Physical Foundations by L. a. Bulavin, Yu F. Zabashta 2007.

Physics for Diagnostic Radiology, Third Edition. 1999. CRC Press.

Medical Imaging and Radiation Protection for Medical Students and Clinical Staff. Martin CJ, Dendy PP, Corbett RH. The British Institute of Radiology. UK. 2003.

Christensen's Physics of Diagnostic Radiology by Thomas S Curry, James E Dowdey, and Robert E Murry (1990).

The Physics of Medical Imaging (Medical Science Ser) by S. Webb (1988).

A Handbook in the Physics of Diagnostic Radiology by Dev P. Chakraborty (1992).

Radiation Exposure and Image Quality in X-Ray Diagnostic Radiology: Physical Principles and Clinical Applications by Horst Aichinger, Joachim Dierker, Sigrid Joite-Barfuß, and Manfred Säbel (2003).

Fundamentals of Diagnostic Radiology by William E Brant and Clyde A Helms (1999).

Medical Imaging Physics by William R. Hendee and E. Russell Ritenour (2002).

Basic physics of ultrasonic imaging by Nimrod M. Tole and Harald. Ostensen (2005).

Physics for Medical Imaging Applications (NATO Science Series II: Mathematics, Physics and Chemistry) by Yves Lemoigne, Alessandra Caner, and Ghita Rahal (2007).

Handbook of Medical Imaging, Volume 1. Physics and Psychophysics (SPIE Press Monograph Vol. PM79) by Jacob Beutel, Harold L. Kundel, and Richard L. Van Metter (2000).

Intermediate Physics for Medicine and Biology (Biological and Medical Physics, Biomedical Engineering) by Russell K. Hobbie (2001).

Physics of Radiology, Fourth Edition by Harold Elford Johns and John Robert Cunningham (1983).

Ultrasound in Medicine (Medical Sciences Series) by Francis A. Duck, A.C Baker, and H.C Starritt (1998).

Radiation Physics for Medical Physicists (Biological and Medical Physics, Biomedical Engineering) by Ervin B. Podgorsak (2005).

Fundamentals of Medical Imaging by Paul Suetens (2002).

Understanding Magnetic Resonance Imaging by Robert C. Smith and Robert C. Lange (1997).

Computed Tomography: From Photon Statistics to Modern Cone-Beam CT by Thorsten M. Buzug (2008).

How does MRI work?: An Introduction to the Physics and Function of Magnetic Resonance Imaging by Dominik Weishaupt, Victor D. Koechli, and Borut Marincek (2008).

Physics in Medical Diagnosis by T.A. Delchar (1997).

Imaging Systems for Medical Diagnostics: Fundamentals, Technical Solutions and Applications for Systems Applying Ionizing Radiation, Nuclear Magnetic Resonance and Ultrasound by Arnulf Oppelt (2006).

MDCT Physics: The Basics by Mahadevappa Mahesh (2009).

PACS: Basic Principles and Applications by H. K. Huang (1998).

PACS and Imaging Informatics: Basic Principles and Applications by H. K. Huang (2004).

Ionizing Radiation Detectors for Medical Imaging by Alberto Del Guerra (2004).

Handbook of Medical Image Processing and Analysis, Second Edition (Academic Press Series in Biomedical Engineering) by Isaac Bankman (2008).

Digital Image Processing for Medical Applications by Geoff Dougherty (2009).

Computed Tomography: Principles, Design, Artifacts, and Recent Advances (SPIE Press Monograph Vol. PM114) by Jiang Hsieh (2003).

Breast MRI: Fundamentals and Technical Aspects by R. Edward Hendrick (2007).

Scientific Papers (reviews):

Huda W, Nickoloff EL, Boone JM. Overview of patient dosimetry in diagnostic radiology in the USA for the past 50 years. Med Phys. 2008 Dec;35(12):5713-28. Review.

Kagadis GC, Nagy P, Langer S, Flynn M, Starkschall G. Anniversary paper: roles of medical physicists and health care applications of informatics. Med Phys. 2008 Jan;35(1):119-27. Review.

Cowen AR, Davies AG, Sivananthan MU. The design and imaging characteristics of dynamic, solid-state, flat-panel x-ray image detectors for digital fluoroscopy and fluorography. Clin Radiol. 2008 Oct;63(10):1073-85. Review.

Cowen AR, Kengyelics SM, Davies AG. Solid-state, flat-panel, digital radiography detectors and their physical imaging characteristics. Clin Radiol. 2008 May;63(5):487-98. Epub 2008 Jan 31. Review.

Martin CJ. Radiation dosimetry for diagnostic medical exposures. Radiat Prot Dosimetry. 2008;128(4):389-412. Epub 2008 Mar 28. Review.

Frey GD, Ibbott GS, Morin RL, Paliwal BR, Thomas SR, Bosma J. The American Board of Radiology Perspective on Maintenance of Certification: Part IV: Practice quality improvement in radiologic physics. Med Phys. 2007 Nov;34(11):4158-63.

Cowen AR, Davies AG, Kengyelics SM. Advances in computed radiography systems and their physical imaging characteristics. Clin Radiol. 2007 Dec;62(12):1132-41. Epub 2007 Sep 7. Review.

Nagy PG. The future of PACS. Med Phys. 2007 Jul;34(7):2676-82.

Yoon HJ, Zheng B, Sahiner B, Chakraborty DP. Evaluating computer-aided detection algorithms.

Med Phys. 2007 Jun;34(6):2024-38. Erratum in: Med Phys. 2008 Nov;35(11):5197.

Kalender WA, Kyriakou Y. Flat-detector computed tomography (FD-CT). Eur Radiol. 2007 Nov;17(11):2767-79. Epub 2007 Jun 23. Review.

Kalender WA. X-ray computed tomography. Phys Med Biol. 2006 Jul 7;51(13):R29-43. Epub 2006 Jun 20. Review.

Yang J, Dutra V. Utility of radiology, laser fluorescence, and transillumination. Dent Clin North Am. 2005 Oct;49(4):739-52, vi. Review.

Samei E. AAPM/RSNA physics tutorial for residents: technological and psychophysical considerations for digital mammographic displays. Radiographics. 2005 Mar-Apr;25(2):491-501. Review.

Cypel YS, Sunshine JH. Diagnostic medical physicists and their clinical activities. J Am Coll Radiol. 2004 Feb;1(2):120-6.

Aitken V, Tabakov S. Evaluation of the e-Learning material developed by EMERALD and EMIT for diagnostic imaging and radiotherapy. Med Eng Phys. 2005 Sep;27(7):633-9.

Tabakov S, Roberts VC, Jonsson BA, Ljungberg M, Lewis CA, Wirestam R, Strand SE, Lamm IL, Milano F, Simmons A, Deane C, Goss D, Aitken V, Noel A, Giraud JY, Sherriff S, Smith P, Clarke G, Almqvist M, Jansson T; EMERALD plus EMIT International Consortia. Development of educational image databases and e-books for medical physics training. Med Eng Phys. 2005 Sep;27(7):591-8.

Ay MR, Sarkar S, Shahriari M, Sardari D, Zaidi H. Assessment of different computational models for generation of x-ray spectra in diagnostic radiology and mammography. Med Phys. 2005 Jun;32(6):1660-75.

Kiselev VG, Strecker R, Ziyeh S, Speck O, Hennig J. Vessel size imaging in humans. Magn Reson Med. 2005 Mar;53(3):553-63.

Thomas SR, Hendee WR, Paliwal BR. The American Board of Radiology Maintenance of Certification (MOC) Program in Radiologic Physics. Med Phys. 2005 Jan;32(1):263-7.

Costa PR, Caldas LV. Evaluation of protective shielding thickness for diagnostic radiology rooms: theory and computer simulation. Med Phys. 2002 Jan;29(1):73-85.

Rowlands JA. The physics of computed radiography. Phys Med Biol. 2002 Dec 7;47(23):R123-66. Review.

Hazle JD, Wilson CR, Hendee WR. Engineering is preferred over physics as an undergraduate preparation for diagnostic and nuclear medical physicists. Med Phys. 2001 Apr;28(4):409-11.

Boone JM, Buonocore MH, Cooper VN 3rd. Monte Carlo validation in diagnostic radiological imaging. Med Phys. 2000 Jun;27(6):1294-304.

McCollough CH, Schueler BA. Calculation of effective dose. Med Phys. 2000 May;27(5):828-37.

Van Lysel MS. The AAPM/RSNA physics tutorial for residents: fluoroscopy: optical coupling and the video system. Radiographics. 2000 Nov-Dec;20(6):1769-86. Review.

DeWerd LA, Wagner LK. Characteristics of radiation detectors for diagnostic radiology. Appl Radiat Isot. 1999 Jan;50(1):125-36. Review.

Faulkner K, Broadhead DA, Harrison RM. Patient dosimetry measurement methods. Appl Radiat Isot. 1999 Jan;50(1):113-23. Review.

Duerk JL. Principles of MR image formation and reconstruction. Magn Reson Imaging Clin N Am. 1999 Nov;7(4):629-59. Review.

Harpen MD. An introduction to wavelet theory and application for the radiological physicist.

Med Phys. 1998 Oct;25(10):1985-93.

Hebden JC, Delpy DT. Diagnostic imaging with light. Br J Radiol. 1997 Nov;70 Spec No:S206-14. Review.

Gore JC, Maryanski MJ, Schulz RJ. Test objects for MRI quality assurance based on polymer gels. Med Phys. 1997 Sep;24(9):1405-8.

Huda W, Gkanatsios NA. Effective dose and energy imparted in diagnostic radiology. Med Phys. 1997 Aug;24(8):1311-6.

Simpkin DJ. Evaluation of NCRP Report No. 49 assumptions on workloads and use factors in diagnostic radiology facilities. Med Phys. 1996 Apr;23(4):577-84.

Hale J. Survey of tissue-air ratio data: a review of the literature for diagnostic radiology. Med Phys. 1991 Nov-Dec;18(6):1154-5. Review.

Shortt K, Davidsson L, Hendry J, Dondi M, Andreo P. International perspectives on quality assurance and new techniques in radiation medicine: outcomes of an IAEA conference. Int J Radiat Oncol Biol Phys. 2008;71(1 Suppl):S80-4.

Huda W, Ravenel JG, Scalzetti EM. How do radiographic techniques affect image quality and patient doses in CT? Semin Ultrasound CT MR. 2002 Oct;23(5):411-22. Review. PubMed PMID: 12509111.

Schwartz S. Radiographic techniques for the pediatric patient. J Contemp Dent Pract. 2000 Nov 15;1(4):60-73. PubMed PMID: 12167951.

Norris TG. Radiation safety in fluoroscopy. Radiol Technol. 2002

Jul-Aug;73(6):511-33; quiz 534-6, 566. Review. Erratum in: Radiol Technol. 2002 Nov-Dec;74(2):132.. PubMed PMID: 12154656

Reports:

AAPM

AAPM report 14, 1985. Performance Specifications and Acceptance Testing for X-Ray Generators and Automatic Exposure Control Devices. http://www.aapm.org/pubs/reports/rpt_14.pdf

AAPM report 15, 1985. Performance Evaluation and Quality Assurance in Digital Subtraction Angiography. http://www.aapm.org/pubs/reports/rpt_15.pdf

AAPM report 20, 1986. Site Planning for Magnetic Resonance Imaging Systems. http://www.aapm.org/pubs/reports/rpt_20.pdf

AAPM report 25, 1988. Protocols for the Radiation Safety Surveys of Diagnostic Radiological Equipment. http://www.aapm.org/pubs/reports/rpt_25.pdf

AAPM report 28, 1990. Quality Assurance Methods and Phantoms for Magnetic Resonance Imaging (Reprinted from Medical Physics, Vol. 17, Issue 2). http://www.aapm.org/pubs/reports/rpt_28.pdf

AAPM report 29, 1990. Diagnostic X-Ray Imaging Committee Task Group #7 Equipment Requirements and Quality Control for Mammography. http://www.aapm.org/pubs/reports/rpt_29.pdf

AAPM report 31, 1990. Standardized Methods for Measuring Diagnostic X-Ray Exposures. http://www.aapm.org/pubs/reports/rpt_31.pdf

AAPM Report 33, 1991 Staffing Levels and Responsibilities of Physicists in Diagnostic Radiology. http://www.aapm.org/pubs/reports/rpt_33.pdf

AAPM report 34, 1992. Acceptance Testing of Magnetic Resonance Imaging Systems (Reprinted from Medical Physics, Vol. 19, Issue 1). http://www.aapm.org/pubs/reports/rpt_34.pdf

AAPM report 35, 1992. Recommendations on Performance Characteristics of Diagnostic Exposure Meters (Reprinted from Medical Physics, Vol. 19, Issue 1). http://www.aapm.org/pubs/reports/rpt_35.pdf

AAPM report 39, 1993. Specification and Acceptance Testing of Computed Tomography Scanners. http://www.aapm.org/pubs/reports/rpt_39.pdf

AAPM report 42, 1994. The Role of the Clinical Medical Physicist in Diagnostic Radiology. http://www.aapm.org/pubs/reports/rpt_42.pdf

AAPM report 58, 1998. Managing the Use of Fluoroscopy in Medical Institutions. http://www.aapm.org/pubs/reports/rpt_58.pdf

AAPM report 60, 1998. Instrumentation Requirements of Diagnostic Radiological Physicists. http://www.aapm.org/pubs/reports/rpt_60.pdf

AAPM report 65, 1998. Real-Time B-Mode Ultrasound Quality Control Test Procedures (Reprinted from Medical Physics, Vol. 25, Issue 8). http://www.aapm.org/pubs/reports/rpt_65.pdf

AAPM report 70, 2001. Cardiac Catheterization Equipment Performance. http://www.aapm.org/pubs/reports/rpt_70.pdf

AAPM report 74, 2002. Quality Control in Diagnostic Radiology. http://www.aapm.org/pubs/reports/rpt_74.pdf

AAPM report 77, 2002. Practical aspects of function MRI (Reprinted from Medical Physics, Vol. 29, Issue 8). http://www.aapm.org/pubs/reports/rpt_77.pdf

AAPM report 78, 2002. Proton magnetic resonance spectroscopy in the brain. Medical Physics, Volume 29, Issue 9. http://www.aapm.org/pubs/reports/rpt_78.pdf

AAPM report 2005. Assessment of Display Performance for Medical Imaging Systems. http://aapm.org/pubs/reports/OR_03.pdf

AAPM. Reference Values for Diagnostic Radiology: Application and Impact. Gray, JE, Archer, BR, Butler, PF, et al. Radiology 2005;235: 354-358. Report of AAPM Task Group No. 7 (Reference Values for Diagnostic X-Ray Examinations). http://radiology.rsna.org/content/235/2/354.full

AAPM report 93, 2006. Acceptance Testing and Quality Control of Photostimulable Storage Phosphor Imaging Systems. http://www.aapm.org/pubs/reports/rpt_93.pdf

AAPM report 94, 2006. Validating Automatic Film Processor Performance. http://www.aapm.org/pubs/reports/rpt_94.pdf

AAPM . Radiology Residents Physics Curriculum. May 2007. This curriculum describes the core physics knowledge related to medical imaging that a radiologist should know when graduating from an accredited radiology residency program. http://aapm.org/pubs/reports/Curriculum.pdf

AAPM report 2008. The Measurement, Reporting, and Managementof Radiation Dose in CT. http://www.aapm.org/pubs/reports/rpt_96.pdf

IAEA

Applying Radiation Safety Standards in Diagnostic Radiology and Interventional Procedures Using X Rays (Safety Reports Series No. 39, STI/PUB/1206), 2006.

Dosimetry in Diagnostic Radiology: An International Code of Practice. Technical Reports Series No.  457, 2007.

http://www-pub.iaea.org/MTCD/publications/PDF/TRS457_web.pdf

IAEA web material for training activities in Diagnostic and Interventional radiology and cardiology.

http://rpop.iaea.org/RPoP/RPoP/Content/index.htm

Radiation Protection in Newer Medical Imaging Techniques: Cardiac CT. Safety Reports Series No.  60. 2009.

http://www-pub.iaea.org/MTCD/publications/PDF/pub1366_web.pdf

Radiation Protection in Newer Medical Imaging Techniques: CT Colonography. Safety Reports Series No.  61. 2009.

http://www-pub.iaea.org/MTCD/publications/PDF/pub1367_web.pdf

Radiation Protection in Newer Medical Imaging Techniques: PET/CT. Safety Reports Series No.  58. 2009.

http://www-pub.iaea.org/MTCD/publications/PDF/pub1343_web.pdf

ICRU www.icru.org

ICRU report. Receiver Operating Characteristic (ROC) Analysis in Medical Imaging (ICRU Report 79). ICRU Report 79, Journal of the ICRU, Vol. 8 No. 1, 2008.

ICRU Report. Patient Dosimetry for X Rays used in Medical Imaging (Report 74). Journal of the ICRU Vol 5 No. 2, 2005.

ICRU Report. Image Quality in Chest Radiography (Report 70). Journal of the ICRU Vol. 3 No. 2, 2003

ICRU Report. Tissues Substitutes, Phantoms and Computation Modelling in Medical Ultrasound (Report 61). ICRU Report 61, 1999.

ICRU Report. Fundamental Quantities and Units for Ionizing Radiation (Report 60). ICRU Report No. 60, 1998.

ICRU Report. Medical Imaging - The Assessment of Image Quality (Report 54). ICRU Report No. 54, 1996.

- ICRU. Phantoms and Computational Models in Therapy, Diagnosis and Protection (Report 48)

ICRU Report No. 48, 1992

ICRU Report. Tissue Substitutes in Radiation Dosimetry and Measurement (Report 44)

ICRU Report No. 44, 1989.

ICRU Report. Modulation Transfer Function of Screen- Film Systems (Report 41). ICRU Report No. 41, 1986.

ICRU Report. Radiation Dosimetry: X Rays Generated at Potentials of 5 to 150 kV (Report 17). ICRU Report No. 17, 1970

ICRP www.icrp.org

ICRP Publication 105. Radiological Protection in Medicine, JAICRP 37(6), 2007.

ICRP Publication 102. Managing Patient Dose in Multi-Detector Computed Tomography (MDCT), JAICRP 37(1), 2007.

ICRP Publication 93. Managing patient dose in digital radiology, JAICRP 34(1), 2004.Managing patient dose in digital radiology, JAICRP 34(1), 2004.

ICRP Publication 90. Biological Effects after Prenatal Irradiation (Embryo and Fetus), JAICRP 33(1-2), 2003.

ICRP Publication 87. Managing Patient Dose in Computed Tomography, JAICRP 30(4), 2000.

ICRP Publication 85. Avoidance of Radiation Injuries from Medical Interventional Procedures, JAICRP 30(2), 2000.

ICRP Publication 84. Pregnancy and Medical Radiation, JAICRP 30(1), 2000.

ICRP Publication 74. Conversion Coefficients for Use in Radiological Protection, JAICRP 26(3-4), 1996.

ICRP Publication 57. Radiological Protection of the Worker in Medicine and Dentistry, JAICRP 20(3), 1989.

ICRP Publication 34. Protection of the Patient in Diagnostic Radiology, JAICRP 9(2-3), 1982.

ICRP Publication 33. Protection against Ionizing Radiation from External Sources used in Medicine, JAICRP 9(1), 1982.

NCRP www.ncrponline.org

NCRP report. Medical Radiation Exposure of Pregnant and Potentially Pregnant Women (1977).

NCRP  Report No. 049 - Structural Shielding Design and Evaluation for Medical Use of X Rays and Gamma Rays of Energies up to 10 MeV. 1976.

NCRP  Report  068. Radiation Protection in Pediatric Radiology (1981).

NCRP  Report No. 074 - Biological Effects of Ultrasound: Mechanisms and Clinical Implications. 1983.

NCRP  Report No. 099 - Quality Assurance for Diagnostic Imaging. 1988.

NCRP  Report 102. Medical X-Ray, Electron Beam and Gamma-Ray Protection for Energies Up to 50 MeV (Equipment Design, Performance and Use (1989) (supersedes NCRP Report No. 33).

NCRP  Report 107. Implementation of the Principle of As Low As Reasonably Achievable (ALARA) for Medical and Dental Personnel (1990).

NCRP  Report 113. Exposure Criteria for Medical Diagnostic Ultrasound: I. Criteria Based on Thermal Mechanisms (1992).

NCRP  Report 122. Use of Personal Monitors to Estimate Effective Dose Equivalent and Effective Dose to Workers For External Exposure to Low-LET Radiation (1995).

NCRP  Report 133. Radiation Protection for Procedures Performed Outside the Radiology Department (2000).

NCRP  Report 140. Exposure Criteria for Medical Diagnostic Ultrasound; II. Criteria Based on All Known Mechanisms (2002).

NCRP  Report 145. Structural Shielding Design for Medical X-Ray Imaging Facilities (2004).

NCRP  Report 147. Structural Shielding Design for Medical X-Ray Imaging Facilities (2004).

NCRP  Report 149. A Guide to Mammography and Other Breast Imaging Procedures (2004).

Others:

WHO publication. Efficacy and Radiation Safety in Interventional Radiology. WHO  2000. Geneva.

EURATOM Report 109: Guidance on diagnostic reference levels (DRLs) for medical exposures

SEFM publications  in the field of medical imaging physics: http://www.sefm.es/documentos_publicaciones.php

SEFM. Protocolo de control de calidad en mamografía digital

SEFM/2005 / Procedimientos recomendados para la dosimetría de Rayos X de energías entre 20 y 150 keV en Radiodiagnóstico. ISBN 8493444804.

SEFM/SEPR 1996 / Protocolo Español de control de calidad en Radiodiagnóstico (Aspectos técnicos), 1996